EXTRUDED LINEAR BAFFLE CEILING SYSTEM

DATASHEET

Technical Info:

Product                       : Aluminium Linear Suspended Ceiling System

Sizes	                       : 20x100mm, lengths : according to shop drawing

Suspension System      : Hook-on system made of main runner Z (20x40x20x1mm), main               runner L (25x25x1mm), galvanised steel, with slots and holes

Specification:
c/c: 100mm center to center distance.

Drawing 1: Aluminium Linear Ceiling Plan

Drawing 2: Aluminium Linear Ceiling Section A

Drawing 3: Aluminium Linear Ceiling Section B